AGENDA

REGULAR MEETING

WATERFORD SCHOOL BUILDING COMMITTEE

WATERFORD, CONNECTICUT

DATE:		Tuesday, February 21, 2012

PLACE:	Conference Room B, Board of Education Offices

TIME:		5:30 p.m.

I. 	Establishment of Quorum and Call to Order

##### II.	Recognition of Visitors/Public Comment

##### III.	Correspondence/Informational Items

- Contract acceptance for E&S Services to VHB, Inc. dated January 31, 2012

- FY2012 Capital Projects Contractual Commitments dated 1/20/12 from Rudie Beers, Director of Finance

- Letter regarding bonding dated January 30, 2012 to Daniel Steward

##### IV.	Superintendent’s Report

##### V.	Old Business

  - Approval of Minutes:  January 17, 2012.

##### Consent Agenda

##### WATERFORD HIGH SCHOOL CHANGE ORDERS:

Pool & Fieldhouse items

New Building Addition Items:

- Joe Capasso Proposal #30, per JCJ Proposal Request #36, for deleted CMU in room G344 per Owner request, in the credited amount of ($2,891.00).

- Secondino PCO#32, Per JCJ Proposal Requests #27 & 26, in the amount of $2,561.15, to change eight (8) doors to WD-6’s and one (1) door to a WD-3 per architect request.

- HHS Proposal dated 1/16/12, per JCJ Proposal Request #29, to provide two (2) eyewash showers, one (1) in the Transportation Lab and one (1) in Construction Lab H164, and furnish them with tepid water from an emergency style mixing valve. Proposal is in the amount of $14,208.30.

- Secondino PCO#28, per JCJ Proposal Request #31, to delete the sanitary napkin holders from the scope of the project per Owner request, in the credited amount of ($1,091.97).

- Conn Acoustics Change Request #23, per RFI#343, to furnish 18 gauge metal roof decking in lieu of 22 gauge metal roof decking at the expansion joint, in the amount of $3,793.44.  The specified 22 gauge was not strong enough to span the truss spacing at the expansion joint.

- Ducci PCO#54, per JCJ Proposal Request #38, for six (6) new data drops in the new addition, in the amount of $5,206.00.  This item was released due to timing & construction of the block walls.

- Ducci PCO#55, per RFI#389, to change 24 Type G Light Fixtures to Type G1 Light Fixtures in the 2nd & 3rd Floor girls and boys bathrooms because the sheetrock ceiling requires the Type G1 Fixture, in the amount of $983.00.

- Secondino PCO#36, in the amount  of $1,991.77, to add an additional door to Room G188 to provide access around the DOAS Unit.

- Door Frame changes in the Media Center and Main Office Suite per JCJ Proposal Request #25: delete two doors, add one door, and change the swing on 4 doors – Secondino PCO #23 in the amount of $2,141.28

- Secondino proposal to modify the Cafeteria Serpentine counter. In the amount of $30,650.84 to make the center wall out of millwork in lieu of drywall and to add solid surface counters to the opposite side.

# Auditorium & Stage Items (need design package in order to issue for bid/pricing)

- Secondino PCO#37, in the amount of $3,952.74, per JCJ Proposal Request #39, to change door D112 from a 4’-0” single egress door, to 2 (2) 3’-0” double egress door, per Fire Marshall request for egress.

- JCJ PR 8 Add one Cabinet Unit Heater & Duct work in Vestibule D101 delete two Cabinet unit heaters in corridor D112.

  - HHS Mechanical COP dated 7/1/2011 in the amount of $10,607.29

  - Ducci Electrical Quote # 8 in the amount of $2,124.00

# Total Change Order $12,731.29

##### VII.	WATERFORD HIGH SCHOOL

##### Architect’s Report Waterford High School: Jeter, Cook & Jepson

##### Construction Manager’s Report Waterford High School: O&G

##### VIII.	New Business

##### IX.	Bill List—See Attached

##### X.	Adjournment

##### IX.	Bill List January 17, 2012

| Project #152- | School | Stage | Vendor | Description | Invoice# | Amount |
| --- | --- | --- | --- | --- | --- | --- |
| n/a | WHS | n/a | Allied Restoration | Roofing | 00005 | $122,265.00 |
| n/a | WHS | n/a | O&G | CM services | 00013 | $115,217.00 |
| n/a | WHS | n/a | A Secondino & Son | General trades | 00007 | $181,401.31 |
| n/a | WHS | n/a | Conn Acoustics, Inc. | Drywall & Acoustical | 00008 | $86,637.34 |
| n/a | WHS | n/a | HHS Mechanical | Fire Protection, Plumbing | 00011 | $287,546.92 |
| n/a | WHS | n/a | Shepard Steel & Co. | Structural metal framing | 00011 | $28,689.09 |
| n/a | WHS | n/a | Ducci Electrical | Electrical | 00009 | $490,983.18 |
| n/a | WHS | n/a | Joe Capasso Mason | Masonry | 00007 | $387,195.12 |
| n/a | WHS | n/a | M. Frank Higgins | Flooring | 00006 | $147,803.74 |
| n/a | WHS | n/a | Advanced Performance | Entrances & Storefronts | 00004 | $411,726.26 |
| n/a | WHS | n/a | Waterford Bd of Ed | Cust/Maint reg & overtime | 2/15/12 | $1,615.82 |
| n/a | WHS | n/a | A Royal Flush | Portable toilets | C-413097 | $286.00 |
| n/a | WHS | n/a | A Royal Flush | Portable toilets | C-411613 | $249.00 |
| n/a | WHS | n/a | A Royal Flush | Portable toilets | C-411033 | $1,859.00 |
| n/a | WHS | n/a | A Royal Flush | Portable toilets | C-410729 | $286.00 |
| n/a | WHS | n/a | Cash True Value | Clocks | 58254 | $43.96 |
| n/a | WHS | n/a | JCJ | Professional services | 0000040R | $18,601.53 |
| n/a | WHS | n/a | Eagle Leasing | Storage | R1397938 | $70.00 |
| n/a | WHS | n/a | Eagle Leasing | Storage | R1397031 | $75.00 |
| n/a | WHS | n/a | Eagle Leasing | Storage | R1400834 | $150.00 |
| n/a | WHS | n/a | Eagle Leasing | Storage | $1401843 | $70.00 |
| n/a | WHS | n/a | Piela Electric | Field house bleacher motor | 123612 | $147.00 |
| n/a | WHS | n/a | Brock Enterprises | Pool | 0122873-IN | $407.28 |
| n/a | WHS | n/a | Sign A Rama | Signage | 14653 | $348.90 |
| n/a | WHS | n/a | Sign A Rama | Signage | 14723 | $150.00 |
| n/a | WHS | n/a | Sign A Rama | Signage | 14308 | $125.95 |
| n/a | WHS | n/a | CL&P | Utilities | 51818835019 | $1,367.38 |
| n/a | WHS | n/a | VanZelm | Professional Services | 0036630 | $3,371.64 |
| n/a | WHS | n/a | Special Testing Lab | Testing | 26143 | $14,816.00 |
| n/a | WHS | n/a | Special Testing Lab | Testing | 26180 | $13,395.000 |
| n/a | WHS | n/a | CL&P | Utilities | 51818835019 | $1,214.90 |
| n/a | WHS | n/a | VanZelm | Professional services | 0036766 | $5,057.46 |
| n/a | WHS | n/a | Rexel | Electrical | S102206809 | $49.66 |