AGENDA

REGULAR MEETING

WATERFORD SCHOOL BUILDING COMMITTEE

WATERFORD, CONNECTICUT

PLEASE NOTE:  THERE WILL BE A TOUR OF WATERFORD HIGH SCHOOL STARTING AT 4:30 P.M.  PLEASE MEET IN THE LOBBY OUTSIDE OF THE MAIN OFFICE TO BEGIN THE TOUR.  THE MEETING WILL BEGIN AT 5:30 P.M. IN ROOM N1 AT WATERFORD HIGH SCHOOL.

DATE:		Tuesday, March 20, 2012

PLACE:	Waterford High School, Room N1

TIME:		5:30 p.m.

I. 	Establishment of Quorum and Call to Order

##### II.	Recognition of Visitors/Public Comment

##### III.	Correspondence/Informational Items

- FY2012 Capital Projects Contractual Commitments dated 2/28/12 from Rudie Beers, Director of Finance

##### IV.	Superintendent’s Report

- Invoice submitted for immediate payment authorized by the Superintendent.  This item is listed on the bill list for Waterford High School (CL&P)

##### V.	Old Business

  - Approval of Minutes:  February 21, 2012

##### Consent Agenda

##### WATERFORD HIGH SCHOOL CHANGE ORDERS:

New Building Addition Items:

- Advanced Performance Glass Proposal dated 2/15/2012, in the amount of $6,625.00, for 186 head anchors for window frames, due to specified steel angle not being long enough to hold the window at a 1-1/2” reveal and cover the wall cavity.  Price for cap to follow.

- Allied Restoration T&M Cost dated 1/20/2012, to add temporary gutters and downspouts on the north and east sides of Area F, in the amount of $9,137.00.  In order to minimize the volume of surface water run-off going to the temporary basin.

- Ducci Quote #61, in the credited amount of ($2,174.00), to delete the speech amplification system from Room G156, per JCJ Proposal Request #40.

- Ducci Quote #58, in the amount of $520.00, per RFI#364D, to add two (2) Type T lights and delete one (1) Type H and one (1) Type C, to provide the proper clearance for the DOAS and to accommodate the changed to room G150.

- Ducci Quote #57, in the amount of $2,829.00, per RFI#303A, for added quad outlets in rooms G151, G156, G158, and F114 for the smart-board locations.

- HHS Change Order Proposal dated 2/20/2012 for one (1) additional hose bib and forty (40) LF of piping and insulation, located in the storage room close to Column Line T, per RFI#152A, in the amount of $2,543.30.

- HHS Proposals dated 1/26/12 & 2/28/12, per RFI#354&354A, to add gas fired water heater flue piping (intake and exhaust) which were not shown on the contract drawings.  Flue venting intake vents will penetrate the North Elevation of Area H between Column Lines 1 & 3, while Exhaust Vents penetrate over the Transportation Lab Coiling Overhead Door, in the amount of $28,532.85.  HHS proposal dated 2/28/2012 to provide a credit in the amount of ($5,289.36) per discussions based on the engineer’s sketches; this credit was increased to ($13,702.54), per conversations with O&G.  Total change order amount: $14,830.31

- Ducci PCO#56, to move Type W Lighting Fixtures to the circuit requirement for this fixture of 4 minimum, 5 maximum, per RFI#371, in the amount of $452.00.

- HHS Plumbing proposal dated 12/23/11 per RFI 316 in the amount of $7,306.63 to supply and install five (5) roof drains and piping to downspouts at the five flat roof areas above entrances and stair towers. Per email from the plumbing contractor: The roof drawing identified scupper drains at these locations which referenced a roof drain detail on the architectural drawings. Plumbing drawing P-300 & P118 specifies a Roof Drain RD-1 and OD-1 shown over area H flat roof. There is no specification found anywhere for scupper drains on the drawings or in the written specification.  The plumbing drawings do not show any scupper drains or piping, which were used for the bidding of this project.

- HHS revised proposal dated 2/29/2012, in the amount of $4,812.67, for the piping, fittings, hangers and supports (no additional charge for the drains).

- Modifications to the Building Access Control:

- Ducci Proposed Change Order #62, in the amount of $16,038.00, to provide an additional security panel, keypads, card readers, and monitoring sensors for the pool equipment and boilers, per RFI#397.

- Awaiting APG price for aluminum door hardware.

- Per RFI#339, in room F214, remove CMU below window to allow of fresh-air intake louver and ductwork, switch the panel system from below window to above and louver from above window to below, to accommodate the change. The change was made because the CMU above the window is a triple bond beam and could not be cut the way it was shown in the plans and still maintain the structural strength required.

- HHS Change Order Proposal dated 2/24/2012, in the amount of $667.71, for the changes to the duct work for the kiln fresh-air intake louver.

- HHS Proposal dated 3/6/2012, in the amount of $711.19, to add a 6” fire damper and access door for the vehicle exhaust piping, per RFI#46R.

# Field Items

- Additional costs for Musco Field Lighting System:

a	Ducci Proposed Change Order #60, to supply & install four (4) battery power inverters and ten (10) LED Lights, in the amount of $57,188.00.

b.	Gagnon Electrical proposal dated 2/21/2012, for additional drilling and rigging due to an increase in the precast base weight from 7,000 (-) lbs to 10,000 (+) lbs, in the amount of $21,700.00.

- Cost Analysis:

2/21/2012 WATERFORD HIGH SCHOOL PROJECT

|  | Musco Light Cost Analysis. | Concrete Bases Football Field | Baseball Field | Concrete Bases Baseball Field |
| --- | --- | --- | --- | --- |
| Base Bid USL Lighting System | $110,000.00 | -$40,000.00 | $100,000.00 | -$40,000.00 |
| Change USL to Musco Green Lights | $80,000.00 | $40,000.00 | $75,000.00 | $40,000.00 |
| Add Emergency System to Musco | $58,000.00 | $22,000.00 |  |  |
| Subtotal | $248,000.00 | $22,000.00 | $175,000.00 | $0.00 |
| Total Lighting Cost Per Field | $270,000.00 |  | $175,000.00 |  |
| Glastonbury CT Musco Lights at Football Field w/ emergency Power. Total project cost around $300,000.00 (Ref: Glastonbury Parks & Recs Dept) |
| City of Lake Wales contract with Musco Sports Lighting for the Little League Lighting Project for $197,500 - June 2011 |
| Lighting Weston High School Varsity Baseball Field Estimated cost $200,000.00 |

# Site Items

- Per PR#42, increase the precast light pole bases to 36” AFG (precast base change from approximately 4’ to approximately 8’), per Owner request.

a.	CJ Fucci CO#43, in the amount of $34,441.15 (includes materials, equipment, & labor).

- Awaiting pricing from Ducci.

Auditorium & Stage Items (need design package in order to issue for bid/pricing)

- Conn Acoustics Change Request #26, in the amount of $9,718.23, for changes to the acoustical wall panels in the Auditorium, per JCJ ASI#11

# Pool & Field House Items

- Ducci Work Order #81445, to rough-in and install Elevator #2 pit lighting and receptacles that were not shown on the drawings, in the amount of $1,440.00.

- Replace existing Lexan panels (clear) with new in PE Offices B121 & B120 – A. Secondino/Cherry Hill Revised Proposal #13 for time and material work in the amount of $1,850.57, negotiated down to $904.57.

- Additional pool repair items performed by Brock on T&M: Repair cracks inside the pool and around the perimeter of the pool, Pool equipment valve changes, depth marker tiles and pool drains at a total cost of $48,028.79:

- Repair existing cracks inside the pool and around the perimeter of the pool: $25,540.63

- Pool Equipment Valve Changes: $9,302.19

- Depth Marker Tile Demo & Installation: $6,878.02

- Pool Drains: $6,142.95

##### VII.	WATERFORD HIGH SCHOOL

##### Architect’s Report Waterford High School: Jeter, Cook & Jepson

##### Construction Manager’s Report Waterford High School: O&G

  - Discussion and possible action on deleting the added Door at Reading Room (SKA-36) for community usage; issue exists that if the door is left unlocked during the day there is a security issue because books can be taken out of the media center through the reading room, thus by-passing the book theft security, however the door cannot be left locked during the day per the Fire Marshall, this would cause an unsafe egress condition.

  - Discussion and possible action for changes per RFI#384 to add a pizza oven to the kitchen layout plan and revise the existing kitchen layout to accommodate the pizza oven, also delete the double convection oven and change double-door reach-in refrigerator to a single-door.  SK’s received from consultant, awaiting pricing from subs.

  - Discussion and possible action on G802 contract amendment to JCJ for additional design services for lowering the catwalk in the amount of $8,900.00.

  - Discussion and possible action for building committee approval to authorize usage of traffic control personnel during the end of year events that will take place at WHS between April 1, 2012 and June 15, 2012.  This is necessary to safely organize and regulate vehicular and public traffic during construction.

##### Punch List Items:

- Possible elimination of the retention pond on west side of property

- Practice field layout

- Musco lighting

- Aud/field house lobby layout and concession stand

- Football field concession stand

- Scoreboards

- Auditorium catwalk

- WHS sign(s) on building

- Diving board and pool scoreboard

##### VIII.	New Business

- Construction Project Budget update and discussion

- Discussion of FF&E Budget

##### IX.	Bill List—See Attached

##### X.	Adjournment

##### IX.	Bill List March 20, 2012

| Project #152- | School | Stage | Vendor | Description | Invoice# | Amount |
| --- | --- | --- | --- | --- | --- | --- |
| n/a | WHS | n/a | Allied Restoration | Roofing | 00006 | $71,067.12 |
| n/a | WHS | n/a | O&G | CM services | 00014 | $155,429.00 |
| n/a | WHS | n/a | Advanced Performance | Entrances & Storefronts | 00005 | $232,456.76 |
| n/a | WHS | n/a | Conn Acoustics, Inc. | Drywall & Acoustical | 00009 | $127,271.26 |
| n/a | WHS | n/a | HHS Mechanical | Fire Protection, Plumbing | 00012 | $406,238.07 |
| n/a | WHS | n/a | Shepard Steel & Co. | Structural metal framing | 00012 | $55,834.79 |
| n/a | WHS | n/a | Ducci Electrical | Electrical | 00010 | $191,885.85 |
| n/a | WHS | n/a | Joe Capasso Mason | Masonry | 00008 | $683,446.95 |
| n/a | WHS | n/a | A Royal Flush | Portable toilets | C-413512 | $1,859.00 |
| n/a | WHS | n/a | A Royal Flush | Portable toilets | C-415445 | $286.00 |
| n/a | WHS | n/a | A Royal Flush | Portable toilets | C-414122 | $249.00 |
| n/a | WHS | n/a | JCJ | Professional services | 0000041 | $21,836.57 |
| n/a | WHS | n/a | Eagle Leasing | Storage | R1404567 | $225.00 |
| n/a | WHS | n/a | Eagle Leasing | Storage | R1405497 | $140.00 |
| n/a | WHS | n/a | VanZelm | Professional Services | 0036869 | $8,429.10 |
| n/a | WHS | n/a | Cynthia Kaplan | Professional svc | 012012.101 | $760.00 |
| n/a | WHS | n/a | CL&P | utilities | 4N220409 | $14,141.10 |
| n/a | WHS | n/a | Rings End | paint | 832157 | $63.99 |
| n/a | WHS | n/a | Rings End | Paint | 832119 | $63.99 |
| n/a | WHS | n/a | Rings End | Paint | 833031 | $12.00 |
| n/a | WHS | n/a | Rings End | paint | 831046 | $22.79 |
| n/a | WHS | n/a | Rings End | paint | 824094 | $191.97 |
| n/a | WHS | n/a | CL&P | Utilities | 51818835019 | $1,116.96 |
| n/a | WHS | n/a | Rings End | homosote | 826658 | $115.00 |
| n/a | WHS | n/a | Special Testing | Testing | 26213 | $11,241.00 |
| n/a | WHS | n/a | Royal Flush | Portable toilets | C-415829 | $1,859.00 |